## Table 1
Table 1. Agencies, groups, and laboratories participating in the laboratory intercomparison task.
Agency | Analytical Laboratory | Group | Group Abbreviation
California Department of Water Resources | Bryte Lab | Divison of Environmental Services | DWR-DES
California Department of Water Resources | Bryte Lab | North Central Regional Office | DWR-NCRO
California Department of Fish and Wildlife | Bryte Lab | Wetland Monitoring | CDFW
Bureau of Reclamation | UC Davis - Saddro Lab | Bay-Delta Program | USBR-UCD
U.S. Geological Survey | USGS National Water Quality Lab | California Water Science Center – BiogeochemistryGroup | USGS-BGC
U.S. Geological Survey | USGS National Water Quality Lab | California Water Science Center – Hydrodynamics Group | USGS-Hydro
SFSU Estuarine and Ocean Science Center | Kimmerer Lab | Kimmerer Lab | EOSC-Kimmerer
Moss Landing Marine Laboratory | MLML - MPSL | Marine Pollution Studies Lab | MLML-MPSL
U.S. Geological Survey | USGS-MMD | WMA Earth Systems Processes | USGS-MMD
U.S. Geological Survey | USGS-Cloern | WMA - San Francisco Bay | USGS-Cloern
Bend Genetics | Bend Genetics | Bend Genetics | Bend Genetics
Sacramento Regional County Sanitation District (Regional San) | Regional San | Environmental Laboratory | Regional San

## Table 2
Table 2. Chlorophyll-a sample collection techniques used by select groups in the San Francisco Estuary
These data were compiled in April, 2019. * Group did not partipate in laboratory comparison exercise
Group | What is the sampling depth? | What method of collection (e.g. dip, van Dorn, integrated depth, pump)? | If you use a pump, what type (e.g. impeller, peristaltic?) | What volume of water do you collect? | What type (material, volume) of bottle do you use?
DWR-NCRO | 1 meter | Van Dorn | na | 1 quart | 1 quart HDPE
DWR-DES Suisun* | 1 meter | van Dorn or SS bucket | na | 2 x 1 quart | 1 quart HDPE
DWR-EMP (field) | 1 meter | van Dorn or SS bucket |  | 2 x 1 quart | 1 quart HDPE
DWR-EMP | 1 meter | Autosampler as of April 2019 but Van Dorn previously (only C10A, C3A, C9), a Submersible pump or a flow through system (remaining stations by vessel) | Autosampler is peristaltic, on the Sentinel I think it's impeller but I’m double checking | 1-2 gallons | Plastic Churn Sample Splitter and plastic 1-gallon cubitainer just for C9 that later get's poured into a plastic churn sample splitter
CDFW | 1 meter | dip bucket | na | 2 x 1 quart | same as DWR-NCRO
USGS-Biogeochemistry | 1 meter | van Dorn (stations) pump (mapping) | impeller | 1L | 1L amber HDPE
USGS-Hydrodynamics | depth of sonde (~1 meter) | van Dorn | na | 1L | 1L amber HDPE
EOSC - Kimmerer | Usually surface water grabs, but sometimes 1 meter below surface and 1 meter off bottom | Bucket dip, van Dorn | na | 1-3L | Nalgene Square Polycarbonate Bottle OR HDPE Nalgene bottle
RegionalSan | 1 meter | pump | Peristaltic | 1L | 1L amber (opaque) HDPE bottles
USGS – WMA, Cloern | Surface water (2 meter depth) and 1 meter off of bottom | Flow through pump for surface, Nisken for bottom water | impeller | 1L | Amber Nalgene HDPE, 1L
USGS – WMA, Marvin DiPasquale | Top 10 cm. | We typically collected with dip method, but have also collected by pump | peristaltic | 2L | PET-G
USBR | A. Approx. 0.25 meters; B. Approx. 0.5 meter | A. Direct grab (dip); B. Pump | B. Impeller or Centrifugal, depends on which boat is used. | 2 x 1L | 1L amber HDPE
Moss Landing (MPSL-DFW) | Subsurface (0.1 meter) or Depth Integrated (-88 meter) | Grab or Integrated | na | minimum 60 mL, more if needed | 60 mL polypropylene syringe

## Table 3
Table 3. Chlorophyll-a filtering steps by select groups in the San Francisco Estuary.
These data were compiled in April, 2019. * Group did not partipate in laboratory comparison exercise
Group | Do you filter in the field or in the lab? | What homogenization techniques used prior to filtering? | Manufacturer, material, diameter, and nominal pore size of filter? | Describe how sample volume is measured? | What is elapsed time during filtering? | What are the lighting conditions during filtering?
DWR-NCRO | Lab | Sample bottle is gently inverted | GE/Whatman, Glass Fiber, 47 mm, 1.5 µm | Volume is poured into flask, etched 500 mL aligned | <5 minutes | Indoor overhead lighting
DWR-DES Suisun* | Lab | Sample bottle gently inverted | Pall A/E glass fiber, 47 mm diameter, 1.0 µm nominal | Volume measured in sample-rinsed graduated cylinder. | <15 minutes, depending on sediment | Dimmed indoor lighting
DWR-EMP | Lab | Sample bottle gently inverted | GE/Whatman, Glass Fiber, 47 mm, 1.0 µm | Volume is poured into flask, etched 500 mL aligned | <15 minutes, depending on sediment | Indoor overhead lighting
DWR-discrete* | Lab onboard R/V Sentinel | We gently churn the sample at least 10x in the churn splitter | GE/Whatman, Glass Fiber, 47 mm, 1.0 µm | 500 mL Volumetric Flask | <5 minutes | Subdued natural light through windows on Sentinel
CDFW | Lab | Sample bottle gently inverted | GE/Whatman, Glass Fiber, 47 mm, 1.5 µm | graduated cylinder | <15 minutes, depending on sediment | Indoor overhead lighting
USGS-Biogeochemistry | Lab | shake bottle several times | Advantec Glass Fiber, 47 mm, 0.3 µm | with bottom of miniscus | <10 minutes | dimmed indoor light
USGS-Hydrodynamics | onboard boat | shake bottle several times | Advantec Glass Fiber, 47 mm, 0.3 µm | Graduated cylinder | <10 minutes | shaded natural light
EOSC - Kimmerer | Both depending on time restrictions. We prefer to filter in lab if possible | Gentle rotation of bottle in tumbling motion | Whatman, Glass Fiber, 25mm, 0.7µm and GVS Life Sciences, PCTE, 25 mm, 5 µm | Graduated cylinder | 30-45 minutes | dimmed indoor light or shaded natural light (field)
RegionalSan | Lab | mild shaking | Glass fiber filters: Whatman GF/F, 47 mm Ø, median particle retention 0.7 μm (range 0.6–0.8 μm) | 250-mL graduated cylinder (class A) | <10 minutes | indoor lights off, ambient light through windows
USGS – WMA, Cloern | onboard R/V Peterson | Thorough shaking of the bottle | GE Healthcare Whatman™ Binder-Free Glass Microfiber Filters GF/F Circles, 25mm, 0.6–0.8 µm nominal particle retention | Water collected from 1 L bottle is then poured into an amber glass vials of a known volume. Known volume is then poured through the filter. | < 5 minutes | Low light conditions, as low as practice in a boat/field setting by blocking out light in collection bottle and vial (amber tone) and in filtering manifold cup (wrapped in black tape with cover)
Bend Genetics | We don’t do any field work, customers may collect samples and request us to analyze them for chl-a. As such, it is dependent on the customer’s monitoring plan. | invert bottle several times | Whatman, glass fiber (GF/F), 25 mm diameter, 0.7 µm pore size | 100 mL graduated cylinders | 1-5 minutes per sample, depends on the turbidity | Lighting is subdued, overhead lights are turned off and only light from a window in an adjacent office illuminates the workspace
USGS – WMA, Marvin DiPasquale | We have done both, but typically in the lab | Invert bottle 3x | Advantec, GFF, 47 mm, 0.3 µm; Whatman GF/F | graduated cylinder | 10 – 15 minutes | dimmed indoor lightling, filter tower is sometimes covered with aluminum foil to keep light out during filtration
USBR | A. Lab; B. Field (R/V Compliance) | invert bottle 3x | B1. Whatman GF/C glass fiber filter (4.7cm, 1.2 µm) B2. Pall A/E Glass Fiber 47 mm 1.0 µm B3. VWR (696) Glass Fiber 47 mm 1.2 µm | 500 mL or 1 L graduated cylinder | 5 - 10 minutess | dimmed indoor lighting
Moss Landing (MPSL-DFW) | Field | 1. Not applicable for Grab; Agitation for integrated | Whatman® GF/C; glass microfiber, binder free; 25 mm; 1.2 µm | Graduated syringe | < 5 minutes | Shaded

## Table 4
Table 4. Chlorophyll-a processing steps immediately following filtering by select groups in the San Francisco Estuary
These data were compiled in April, 2019. * Group did not partipate in laboratory comparison exercise
Group | If you filter in lab, what is the time limit between collection and filtering? What is the ‘normal’ elapsed time between collection and filtering? | If you filter in field, how do you transport Chl-a filters back to office/lab (e.g. dry ice in cooler)? | If you filter in lab, how do preserve Chl-a filters? | At what temperature do you store Chl-a filters? (°C) | What is the maximum hold time of your Chl-a filters (time of collection to analysis) | Do you use a hand pump or vacuum pump? What is the pressure limit of the pump?
DWR-NCRO | 3-5 hours | na | 1-2 mL MgCO3, freeze | -20 | 28 days, but usually delivered within a few days of collection | Vaccuum pump, 30 kPa
DWR-DES Suisun* | 3-5 hours | na | saturated MgCO3 before filtering completes, immediate freeze | -20 | 28 days, but usually delivered within a few days of collection | Vacuum pump, =< 5 psi ~<35 kPa
DWR-EMP | 3-5 hours | na | 1-2 ml MgCO3, freeze | -20 | 28 days, but usually delivered the next day after collection | Vaccuum pump, 20-25 kPa
DWR-discrete* | <10 minutes, we do it as soon as possible | We put the filters in a freezer on the Sentinel immediately after filtering. We transport the filters from the freezer in a cooler with ice to the lab freezer at the DWR West Sacramento Office | 1-2 mL MgCO3, freeze | -20 | 28 days, but usually delivered the next day after collection | Vaccuum pump, 20-25 kPa
CDFW | 3-8 hours | na | 1-2 mL MgCO3, freeze | -20 | 28 days, but usually delivered within a few days of collection | Hand pump- kept to 5psi or less (We are purchasing vaccuum pumps and setups identical to EMPs)
USGS-Biogeochemistry | < 24 hours | dry ice | freeze | -20 | 28 days if pH >6. | Vacuum pump, <10 psi
USGS-Hydrodynamics | na | wet ice | na | -20 | 28 days if pH >6. | hand pump, <5 psi
EOSC - Kimmerer | Anywhere from 2 - 6 hours depending on transit time | In borosilicate culture tubes on ice in cooler. If it is a long day it is dry ice in cooler | freeze | -20 | 90 days | Vacuum pump, < 5psi
RegionalSan | 2-3 hours, < 24 hours | na | By adding approximately 2 mL of saturated MgCO3 solution to the sample just before the filtering process is completed | -20 | Maximum of 28 d | Vacuum pump, regulated to apply no more than 20 kPa
USGS – WMA, Cloern | Field filtering only | Liquid nitrogen or dry ice | na | -80 | Immediate filtration, filters stored for 2 months in -80 max hold time | Vacuum pump, 5 psi max
Bend Genetics | Samples must be filtered within 24 hours of collection, but ideally within 4 hours | In a cooler on wet ice | They are folded in half, blotted on paper towel, then wrapped in aluminum foil and stored in the freezer at -20˚C | -20 | If samples are filtered and stored frozen, hold times up to 3.5 weeks are acceptable | vacuum pump, maximum pressure of 8 PSI
USGS – WMA, Marvin DiPasquale | 5 hours | Dry ice cooler | Store in -80°C freezer | -80 | 60 days
USBR | 24 hours; 3 hours | Buried in “blue” ice in cooler. | Place in freezer immediately after filtering | -20 | ~ 6 months (due to laboratory changes) | Prior to 2013 or 2014, hand; recent years it’s been the vacuum pump. No good record of when we switched; A. <0.21 bar (<3 psi); B. <0.48 bar (<7 psi)
Moss Landing (MPSL-DFW) | NA | Filters are folded in quarters, wrapped in aluminum foil, placed in a labeled coin envelope and stored under wet ice or on dry ice | NA | Frozen at -20°C | 28 days | no

## Table 5
Table 5. Chlorophyll extraction and analysis by select laboratories in the San Francisco Estuary.
These data were compiled in April, 2019.
Laboratory | Analytical Method | extraction solvent, purity, and volume used | What is steeping time following extraction? | Was grinding used? | Please describe grinding setup. | Were samples acidified? If so, what type, concentration, and volume? | Instrument
DWR Bryte Lab | SM 10200H (spectrophotometric) | 10 mL of 90% HPLC grade Aacetone / 10% saturated magnesium carbonate solution | 2-24 hours | No. Vortexed at speed of 1300 for 1 minute. Sonicated for the 7 minutes. | n/a | Acidified in cell to 0.003 N HCl with 0.1 N HCl solution | Perkin Elmer Lambda 11 UV/Vis
USGS National Water Quality Lab | EPA 445.0 | 90% acetone | 12-24 hours (not to exceed 24 hours) | No | n/a | 0.1N HCl, 3ml for each sample | Turner Designs, Trilogy Fluorometer
EOSC-Kimmerer | EPA 445.0 | 90% acetone, reagent grade, 8ml | 24 hours | No | n/a | 10% HCl acid, 3 drops added to 8ml extraction | Turner Designs, 10-AU benchtop Fluorometer
Regional San | Standard Methods 10200 H, fluorometric, non-acidification module (narrow bandwidth) | 90% acetone 10% saturated magnesium carbonate in water, 10 mL per sample | Overnight (16-24 hours) | Yes | Contorque drive motor, Teflon grinder with grooves, no more than 500 rpm, for about 1 min | no | Turner Designs, Trilogy Fluorometer
USGS – WMA, Cloern | EPA 445.0 | 90% acetone (99.5% J.T. Baker), 10 mL | Minimum 24 hours of extraction | No | n/a | 0.1 N HCl, 0.1 mL in 4 mL of extract | Turner Designs, Trilogy Fluorometer
Bend Genetics | EPA 445.0 | HPLC-UV grade acetone (90% v/v), 10 mL per filter | Steeping time is generally about 20 hours. Extractions are started in the afternoon and analyzed the following morning. | Yes | Filters are homogenized using a Teflon pestle with grooves in a 30 mL capacity glass grinding tube | 0.1 N HCl added to a final concentration of 0.003 N HCl | Turner Designs, Trilogy Fluorometer
USGS – WMA, Marvin-DiPasquale | Parsons, T.R., Maita, Y., a nd Lalli, C.M., 1984; and modified EPA 445.0 | 90% acetone, 10 ml per filter | 24 hours | No | n/a | no | Shimadzu Model UV-1601; Turner Trilogy Fluorometer
UC Davis | modified SM 10200 H, fluorometric | 90% ethanol | 3 - 15 hours | No | n/a | we use 0.1N HCL. We add 0.12 µ L per 1 mL of extracted chlor sample | Turner Designs, Trilogy Fluorometer
Moss Landing (MPSL-DFW) | modified EPA 445.0 | 90% acetone | 2-24 hours | No | n/a | Initial reading, acidified to a final concentration of 0.003N HCl | Turner Designs, Trilogy Fluorometer

## Table 6
Table 6. Standard curve and reference material details select laboratories in the San Francisco Estuary
These data were compiled in April, 2019.
Lab | Source of stock material for standard curve | Preparation | Reference material verified spectrophoto-metrically? | Jeffrey and Humphrey, 1975? Or another method | How many data points in standard curve | Data points | Other
DWR Bryte Lab | n/a | n/a | n/a | n/a | n/a | n/a
USGS National Water Quality Lab | Chl-a neat, Sigma Aldrich | Carefully open the ampule and transfer the solid neat into a clean 100-mL volumetric flask using the following procedure: with a Pasteur pipette, add approximately 1 mL of 90 percent acetone/water solution to the neat ampule and transfer solution into the flask. Bring to volume with 90 percent acetone/water solution and mix thoroughly. | yes | yes | 6 | 2.5, 5.0, 20.0, 100.0, 200.0, 250.0ppb
EOSC-Kimmerer | Chl Stock Standard Solution - Turner | serial dilution with 90% acetone | yes, by Turner | yes | 8 | varies, last curve had: 0.2,1,3, 10, 21, 30,51,205 | calibrate 1x per year; test solid standard within
Regional San | Liquid Chlorophyll Standards, obtained from Turner Designs | Turner uses chlorophyll powder isolated from Anacystic nidulands dissolved in 90% acetone. serial dilution from 2 standards, 3 made from high standard. 4 made from low standard. Standards sealed in ampules. | yes, by Turner | yes | 10 | 0 - 205
USGS – WMA, Cloern | Sigma Aldrich | serial dilution with 90% acetone | yes, as well as higher dilution concentrations | yes | 10 | 3,5, 10, 15, 20, 25, 30, 50, 80, 100 µg/L | Every few years we compare our spec dilutions to standards run on LC-MS to ensure that the spec and our calculations are correct. Fluorometers calibrated anually.
Bend Genetics | Sigma Aldrich | The powder is resuspended into 20 mL of 90% acetone | yes | yes | 5 | 0.2, 2, 5, 20 and 200 ug/L | Importantly, if the master stock absorbance is above 0.90, it gets diluted with 90% acetone and reanalyzed until the absorbance falls between 0.2 - 0.9. This is important since extreme values (those less than 0.1 or more than 1.0 are known to be less accurate
USGS – WMA, Marvin-DiPasquale | spectrophotometric - n/a; fluorescence - Sigma Aldrich | spectrophotometric - n/a; florescence - serial dilution with 90% acetone | spectrophotometric - n/a; florescence - yes, as well as higher dilution concentrations | spectrophotometric - n/a; florescence - yes | spectrophotometric - n/a; florescence - 10 | spectrophotometric - n/a; florescence - 3,5, 10, 15, 20, 25, 30, 50, 80, 100 µg/L | For spectrophotometric method: Chl a (mg/m3) is calculated with wavelength ratios, without use of analytical standard
UC Davis | Chl-a standard ampule, Sigma Aldrich, 96145-1MG | 1 mg powdered chl a analytical standard was dissolved into 1L 90% ethanol, and was assumed to be 1000 ppb for stock solution | no | n/a | 8 | 0, 10, 25, 50, 100, 150, 200, 300
Moss Landing (MPSL-DFW) | Chl Stock Standard Solution - Turner - certified high and low | serial diluation made from stock solutions | yes | yes | minimum of 5 | varies, ranges from 0.2 - 200 ug/L | Quality Control Sample (QCS) – Solid Chl a (1mg), free of Chl b, is purchased (Fisher#NC0025628). Tap the ampoule until all the dried chlorophyll is in the bottom of the ampoule. In subdued light, carefully break the tip off the ampoule. Transfer the entire contents of the ampoule into a 100ml volumetric flask. Rinse ampule with 1 to 3ml of 90% acetone solution and quantitatively transfer into flask. Dilute to volume with 90% acetone, label the flask and wrap with aluminum foil to protect from light and store at -20°C. The concentration of the solution must be determined spectrophotometrically using a multiwavelength spectrophotometer. The concentration Quality Control Sample (QCS) is determined spectrophotometrically each time it is analyzed. For each batch of samples (20 or less), 3 method/filter blanks (LRB) and 1 quality control sample (QCS) are analyzed. A solid chlorophyll a standard from Turner Designs is also used as a second source standard and analyzed at the beginning, after every 10 samples, and at the end of each analytical day. The Solid Secondary Standard is used to track calibrations over time and to provide a quick and easy way to validate instrument performance. A secondary standard contains a stable fluorescent material that is intended to give you consistent repeatable readings.

## Table 7
Table 7. Results for field meter check sonde, continuous monitoring station sonde, and and discrete laboratory measurements collected during the sensor intercomparison deployments at Mossdale and Liberty Island locations.
STAID | 11304200 |  |  | 11455315
Station Name | San Joaquin River at Mossdale (MSD) |  |  | Cache Slough at South Liberty Island near Rio Vista
Measurement Type | check sonde | continuous station | discrete | check sonde | continuous station | discrete
Date | 2018-08-30 | 2018-08-30 | 2018-08-30 | 2018-10-10 | 2018-08-30 | 2018-10-10
Time | 11:15 | 11:15 | 11:16 | 10:00 | 11:15 | 10:01
Lab received | 2018-09-05 | -- | 2018-09-05 | 2018-10-25 | -- | 2018-10-25
Run Date | 2018-09-20 | -- | 2018-09-20 | 2018-11-02 | -- | 2018-11-02
USGS Chl-a (µg/L) | 55.165 | -- | 56.976 | 0.692 | -- | 0.662
USGS Pheophytin a (µg/L) | 18.147 | -- | 20.202 | 0.948 | -- | 0.869
BGC raw fCHL (µg/L) median | 39.25 | -- | -- | 0.35 | -- | --
BGC raw range of 30 sec burst (µg/L) | 36.76 - 47.21 | -- | -- | 0.25 - 0.41 | -- | --
Timestamp (PST) | 2018-08-30 11:15 | -- | -- | 2018-10-10 10:00 | -- | --
Temp. (°C) | 23.315 | 23.27 | -- | 18.199 | 18.2 | --
SpC (µS/cm) | 577.58 | 563 | -- | 162.9 | 164 | --
pH | 9.31 | 8.4 | -- | 7.8 | 7.7 | --
ODO (mg/L) | 12.08 | 10.3 | -- | 8.3 | 8.4 | --
ODO (mg/L) | 141.9 | -- | -- | 88.1 | 90 | --
Turbidity (FNU) | 9.4 | 7.82 | -- | 3.49 | 8.4 | --
fDOM (QSE) | 30.76 | -- | -- | 10.82 | 21.8 | --
fCHL (RFU) | 10.75 | -- | -- | 0.16 | 0 | --
fCHL (µg/L) | 39.11 | 21.12 | -- | 0.62 | -- | --
fPC (RFU) | 3.16 | -- | -- | 0.37 | -- | --

## Table 8
Table 8. Results for 'field meter check sonde' and 'continuous monitoring station sonde' and discrete laboratory measurements at the location of laboratory intercomparison sample collection
Event | 1 |  |  | 2 |  |  | 3
Location | Grizzly Bay |  |  | Yolo Bypass at Lisbon Weir |  |  | Yolo Bypass at Lisbon Weir
Measurement Type | check sonde | continuous station | discrete | check sonde | continuous station | discrete | check sonde | continuous station | discrete
Date | 2019-05-07 | 2019-05-07 | -- | 2019-07-09 | 2019-07-09 | -- | 2019-08-20 | 2019-08-20 | --
Sonde Time (PST) | 8:45 | 8:45 | -- | 7:20 | 7:15 | -- | 7:30 | 7:30 | --
Temperature | 16.42 | 16.44 | -- | 22.1 | 22.22 | -- | 23.3 | 23.3 | --
Specific Conductivity (µS) | 219 | 226 | -- | 756 | 767 | -- | 467 | 467 | --
pH | 7.84 | -- | -- | 8.02 | 8 | -- | 7.9 | 8 | --
Dissolved Oxygen (mg/L) | 9.86 | 9.6 | -- | 6.49 | 6.3 | -- | 6.5 | 6.5 | --
Dissolved Oxygen (%) | 100.8 | -- | -- | 74.3 | -- | -- | n/a | -- | --
Turbidity (FNU) | 48.82 | 50.8 | -- | 52.07 | 45.3 | -- | 56.63 | 41.09 | --
Dissolved Organ Matter Flourescence (QSE) | 20.8 | -- | -- | 58.36 | -- | -- | 49.24 | -- | --
Chlorophyll-a Fluorescence (µg/L) | 3.29 | 9.9 | -- | 7.17 | 7.84 | -- | 19.89 | 19.89 | --
DWR Total Nitrogen (mg/L) | -- | -- | -- | -- | -- | -- | -- | -- | --
USGS Total Dissolved Nitrogen (mg/L) | -- | -- | na | -- | -- | 1.09 | -- | -- | 0.4
DWR Ammonium mg/L-N | -- | -- | <0.05 | -- | -- | 0.08 | -- | -- | <0.05
USGS Ammonium (mg/L-N) | -- | -- | na | -- | -- | 0.05 | -- | -- | <0.01
DWR Nitrite+Nitrate (mg/L-N) | -- | -- | 0.14 | -- | -- | 0.58 | -- | -- | <0.05
USGS Nitrite+Nitrate (mg/L-N) | -- | -- | na | -- | -- | 0.55 | -- | -- | <0.04
USGS Nitrite (mg/L-N) | -- | -- | na | -- | -- | 0.01 | -- | -- | <0.001
DWR Total Phosphorous (mg/L) | -- | -- | 0.12 | -- | -- | 0.35 | -- | -- | 0.31
DWR Orthophosphate (mg/L-P) | -- | -- | 0.06 | -- | -- | 0.3 | -- | -- | 0.19
USGS Orthophosphate (mg/L-P) | -- | -- | na | -- | -- | 0.31 | -- | -- | 0.23
DWR Dissolved Organic Nitrogen (mg/L) | -- | -- | 0.83 | -- | -- | 0.55 | -- | -- | 0.47

## Table 9
Table 9. Chlorophyll-a concentrations for the three laboratory comparison sampling events - the code represents the participating group (number) and analytical laboratory (letter).
*note the zero values for lab 9-F in Event 2 were due to absence of data. For lab 3-A, Event 3 concentrations for all replicate values were the same.
Group-Lab Code | Replicate | Event 1 (µg/L) | Event 2 (µg/L) | Event 3 (µg/L) | Event 1 extraction date | Event 1 analysis date | Event 2 extraction date | Event 2 analysis date | Event 3 extraction date | Event 3 analysis date | Standard deviation - Event 1 | Standard deviation - Event 2 | Standard deviation - Event 3
1-A | 1 | 6.6 | 4.6 | 17.6 | [6 empty] | 1.8037 | 1.6442 | 4.7508
1-A | 2 | 3 | 7.1 | 8.1
1-A | 3 | 5 | 4 | 13
2-A | 1 | 6.6 | 2.9 | 18.3 | 2019-05-24 | 2019-05-24 | 2019-07-16 | 2019-07-16 | 2019-08-21 | 2019-08-30 | 0.20817 | 0.40415 | 0.5
2-A | 2 | 6.2 | 2.9 | 17.8
2-A | 3 | 6.5 | 3.6 | 18.8
3-A | 1 | 7 | 4.4 | 19.4 | [6 empty] | 0.1 | 0.30551 | 0
3-A | 2 | 6.9 | 4.8 | 19.4
3-A | 3 | 6.8 | 5 | 19.4
4-B | 1 | 5.5 | 6 | 19.5 | 2019-05-17 | 2019-05-17 | 2019-07-10 | 2019-07-24 | 2019-08-21 | 2019-09-06 | 0.2 | 0.3 | 1.2097
4-B | 2 | 5.9 | 5.7 | 20
4-B | 3 | 5.7 | 5.4 | 17.7
5-B | 1 | 5.2 | 5.9 | 19.4 | 2019-05-17 | 2019-05-17 | 2019-07-11 | 2019-07-25 | 2019-08-20 | 2019-09-06 | 0.50332 | 0.28868 | 0.8544
5-B | 2 | 4.2 | 5.4 | 20.1
5-B | 3 | 4.8 | 5.4 | 18.4
6-C | 1 | 8.1 | 6 | 17.4 | 2019-05-09 | 2019-05-10 | 2019-07-11 | 2019-07-12 | 2019-10-02 | 2019-10-03 | 0.37859 | 0.58595 | 1.097
6-C | 2 | 8.8 | 6.2 | 16.9
6-C | 3 | 8.2 | 5.1 | 15.3
7-D | 1 | 12.5 | 14 | 42.3 |  |  | 2019-07-17 | 2019-07-18 | 2019-08-22 | 2019-08-23 | 0.28868 | 0.20817 | 0.15275
7-D | 2 | 13 | 13.9 | 42.5
7-D | 3 | 12.5 | 14.3 | 42.6
8-E | 1 | 8.8 | 6.2 | 24.8 |  |  | 2019-07-15 | 2019-07-16 | 2019-09-30 | 2019-10-01 | 0.34641 | 0.1 | 0.40415
8-E | 2 | 8.2 | 6.4 | 24.3
8-E | 3 | 8.8 | 6.3 | 25.1
9-F | 1 | 5 | na | 15.2 | 2019-05-09: 2019-05-08; 2019-05-10: 2019-05-09; 2019-10-03: 2019-08-21 | 0.057735 |  | 0.35119
9-F | 2 | 4.9 | na | 14.5
9-F | 3 | 5 | na | 14.8
10-G | 1 | 5.6 | 4.9 | 20 | 2019-05-22 | 2019-05-23 | 2019-07-17 | 2019-07-18 | 2019-09-04 | 2019-09-05 | 0.95394 | 1.0817 | 0.55076
10-G | 2 | 7.2 | 5.5 | 19.5
10-G | 3 | 7.3 | 3.4 | 20.6
11-H | 1 | 7.9 | 4.4 | 19.4 | 2019-05-22 | 2019-05-23 | 2019-07-17 | 2019-07-18 | 2019-09-04 | 2019-09-05 | 0.15275 | 0.17321 | 1.4224
11-H | 2 | 7.8 | 4.1 | 22
11-H | 3 | 8.1 | 4.4 | 21.7
12-J | 1 | 7 | 5.8 | 23.2 | 2019-10-01 | 2019-10-01 | 2019-10-01 | 2019-10-01 | 2019-10-01 | 2019-10-01 | 0.35119 | 0.20817 | 1.4731
12-J | 2 | 6.7 | 5.9 | 21.3
12-J | 3 | 7.4 | 5.5 | 20.3
13-K | 1 | 7.5 | 5.2 | 22.3 | 2019-05-21 | 2019-05-20 | 2019-07-15 | 2019-07-16 | 2019-09-05 | 2019-09-06 | 0.26458 | 0.25166 | 0.98658
13-K | 2 | 7 | 5.7 | 22.1
13-K | 3 | 7.1 | 5.5 | 20.5

## Table 10
Table 10. Summary Statistics - Outliers included - for laboratory comparison exercise.
| Event 1 | Event 2 | Event 3
Number of filter sets | 13 | 12 | 13
Mean number of replicates (N) | 3 | 3 | 3
General Mean (m) | 7.0817 | 5.9 | 20.9114
Repeatability variance (Sr2) | 0.3839 | 0.4054 | 2.4517
Repeatability Standard Deviation (Sr) | 0.6196 | 0.6367 | 1.5658
Squared Standard Deviation of the Cell Means (Sm2) | 4.4456 | 7.3521 | 51.4716
Between Laboratory variance (SL2) | 4.3176 | 7.217 | 50.6544
Reproducibility Standard Deviation (SR) | 2.1909 | 2.7792 | 7.3304
Repeatability - COV(Sr) | 8.75% | 10.83% | 7.49%
Reproducibility - COV(SR) | 30.94% | 47.26% | 35.05%
𝛄 (SR/Sr) | 3.5361 | 4.3648 | 4.6816
Repeatability limit (2.8 * Sr) | 1.7348 | 1.7828 | 4.3842
Reproducibility limit (2.8 * SR) | 6.1344 | 7.7817 | 20.5251
Number of excluded outliers | 0 | 0 | 0
Outlier Type

## Table 11
Table 11. Summary statistics - outliers excluded - for laboratory intercomparison.
| Event 1 | Event 2 | Event 3
Number of laboratories | 11 | 10 | 11
Mean number of replicates (N) | 3 | 3 | 3
General Mean (m) | 6.8 | 5.1 | 19.7
Repeatability variance (Sr2) | 0.16 | 0.21 | 0.85
Repeatability Standard Deviation (Sr) | 0.4 | 0.46 | 0.92
Squared Std. Deviation of the Cell Means (Sm2) | 1.6 | 0.85 | 7.1
Between Laboratory variance (SL2) | 1.6 | 0.78 | 6.8
Reproducibility Standard Deviation (SR) | 1.3 | 1 | 2.8
Repeatability - COV(Sr) | 5.9% | 8.9% | 4.7%
Reproducibility - COV(SR) | 20 % | 20 % | 14 %
𝛄 (SR/Sr) | 3.3219 | 2.2306 | 3.0465
Repeatability limit (2.8 * Sr) | 1.1242 | 1.2821 | 2.5785
Reproducibility limit (2.8 * SR) | 3.7344 | 2.8599 | 7.8555
Number of excluded outliers | 2 | 2 | 2
Outlier Type | k and h | k and h | k and h

## Table 12
Table 12. Analysis of Variance (ANOVA) results for the sample processing and laboratory comparison
Dependent variable | Event | Number of levels in catagorical variable | Degrees of Freedom | Sum of squares | F ratio | Prob > F
Filter nominal pore size | 2020-01-03 | 5 | 4 | 45.9085 | 0.2393 | 0.9154
Grinding | 2020-01-03 | 2 | 1 | 4.1587 | 0.0887 | 0.7665
Analytical method | 2020-01-03 | 4 | 3 | 21.8233 | 0.1525 | 0.9278
Filter nominal pore size | 1 | 5 | 4 | 17.1751 | 3.402 | 0.0218
Filter nominal pore size | 2 | 5 | 4 | 14.6511 | 7.2588 | 0.0005
Filter nominal pore size | 3 | 5 | 4 | 30.7586 | 1.0717 | 0.3891
Grinding | 1 | 2 | 1 | 10.959 | 8.1752 | 0.0075
Grinding | 2 | 2 | 1 | -- | -- | --
Grinding | 3 | 2 | 1 | 77.7543 | 15.6618 | 0.0004
Analytical method | 1 | 4 | 3 | 0.30536 | 0.0565 | 0.982
Analytical method | 2 | 4 | 3 | 13.0806 | 7.9917 | 0.0006
Analytical method | 3 | 4 | 3 | 15.7194 | 0.7037 | 0.5576

## Table 13
Table 13. Phytoplankton enumeration results.
Station | Sample Date | Scientific Name | Lowest taxonomic classification | Tally | Density (cells/L) | Total Biovolume (µm3/L)
GLZ | 2019-05-07 | Aulacoseira spp. | Bacillariophyta (class) | 2 | 211000 | 63500000
GLZ | 2019-05-07 | Cocconeis spp. | Bacillariophyta (class) | 2 | 211000 | 129000000
GLZ | 2019-05-07 | Cyclotella spp. | Bacillariophyta (class) | 1 | 105000 | 14500000
GLZ | 2019-05-07 | Nitzschia spp. | Bacillariophyta (class) | 1 | 105000 | 26600000
GLZ | 2019-05-07 | Pseudostaurosira spp. | Bacillariophyta (class) | 12 | 1270000 | 177000000
GLZ | 2019-05-07 | Skeletonema spp. | Bacillariophyta (class) | 4 | 6010000 | 478000000
GLZ | 2019-05-07 | Scenedesmus spp. | Chlorophyta (phylum) | 2 | 3000000 | 23300000
GLZ | 2019-05-07 | Eucapsis | Cyanobacteria (phylum) | 621 | 932000000 | 250000000
GLZ | 2019-05-07 | Dinobryon spp. | Ochrophyta (phylum) | 1 | 1500000 | 912000000
GLZ |  | TOTAL |  | 646 | 945000000 | 2070000000
LIS | 2019-07-09 | Cyclotella spp. | Bacillariophyta (class) | 1 | 105000 | 16800000
LIS | 2019-07-09 | Nitzschia spp. | Bacillariophyta (class) | 2 | 211000 | 13700000
LIS | 2019-07-09 | Chlorella spp. | Chlorophyta (phylum) | 10 | 18000000 | 75500000
LIS | 2019-07-09 | Drepanochloris nannoselene | Chlorophyta (phylum) | 1 | 1800000 | 11200000
LIS | 2019-07-09 | Scenedesmus spp. | Chlorophyta (phylum) | 2 | 211000 | 1630000
LIS | 2019-07-09 | Eucapsis | Cyanobacteria (phylum) | 691 | 1240000000 | 334000000
LIS |  | TOTAL |  | 707 | 1270000000 | 453000000
LIS | 2019-08-20 | Chlorella spp. | Chlorophyta (phylum) | 3 | 2080000 | 8710000
LIS | 2019-08-20 | Kirchneriella spp. | Chlorophyta (phylum) | 1 | 693000 | 7260000
LIS | 2019-08-20 | Eucapsis microscopica | Cyanobacteria (phylum) | 628 | 435000000 | 117000000
LIS | 2019-08-20 | Snowella spp. | Cyanobacteria (phylum) | 8 | 843000 | 226000
LIS |  | TOTAL |  | 640 | 439000000 | 133000000

## Table A1
Table A1. Agencies and groups participating in chlorophyll-a fluorescence sensor intercomparison.
Agency | Group | Group Abbreviation
California Department of Water Resources | Division of Environmental Services | DWR-DES
California Department of Water Resources | North Central Regional Office | DWR-NCRO
San Francisco Estuary Institute | Clean Water Program | SFEI
U.S. Bureau of Reclamation | Bay-Delta Program | USBR
U.S. Geological Survey | California Water Science Center – Biogeochemistry Group | USGS-BGC
U.S. Geological Survey | California Water Science Center – Hydrodynamics Group | USGS-Hydro

## Table A2
Table A2. Instrument and sensor metadata used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2).
SENSOR METADATA
Group | Instrument | Sensor | Reporting Units | Use advanced sensor settings? | Apply temp. compensation? | Enter Chl-a offset? | Enter Chl-a slope?
A | YSI - 6600 | 6025 | RFU, µg/L | no | no | no | no
B | YSI 6600, YSI EXO2 | 6025, Total Algae | ug/L | no | no | no | no
C | YSI 6600, YSI EXO2 | 6025, Total Algae | ug/L | no | no | no | no
D | YSI EXO2 | Total Algae | raw, RFU, ug/L | no | no | no | no
E | YSI EXO2 | Total Algae | ug/L; RFU | no | no | no | no
F | YSI EXO2 | Total Algae | ug/L; RFU | no | no | no | no

## Table A3
Table A3. Deployment settings used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2)
DEPLOYMENT SETTINGS
Group | Time datum | Logging interval (minutes) | Which SDI parameters selected? | Logging mode | Sample per wipe? | Averaging mode | Adaptive logging
A | PST | 15 |  | normal | 1 | default | no
B | PST | 15 | WT, SpC, DO, pH, Chl., Turb., Depth, Battery Voltage | normal | 1 | default | no
C | PST | 15 | SDI-12 = 4 | normal | 1 | default | no
D | PST | 15 | Temp C, Cond us/cm, SpCond us/cm, Salinity psu, Depth meters, Battery Voltage, Date dd/mm/yy, Time hh:mm:ss, DO %sat | normal | 2 | default | no
E | PST | 15 |  | burst | 1 | default | no
F | PST | 15 |  | burst | 1 | default | no

## Table A4
Table A4. Calibration protocals used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2)
CALIBRATION PROTOCOL
Group | Chl-a RFU calibration details (cal points/solution manufacturer/concentration) | Chl-a µg/L calibration details (cal points/solution manufacturer/concentration) | Reset sensor to factory settings? | Cal for BGA (RFU or ug/L)? If yes, fill in details according to column R
A | no | no | no | no
B | n/a | 1, DI water from lab | if “out of range” for 6-series | n/a
C | n/a | 1, DI water from lab | 6 Series: uncal when moving probes between sondes. EXO: no | ug/L (1, DI water from Bryte Lab, 0)
D | 1, DI, 0 | no | last resort for troubleshooting | RFU, 1, DI, 0
E | 2, Kingscote chemicals (Bright Dyes), 0, 16.4 | 2, Kingscote chemicals (Bright Dyes),0, 66 | no | both RFU and ug/L
F | 2, Kingscote chemicals (Bright Dyes), 0, 16.4 | 2, Kingscote chemicals (Bright Dyes),0, 66 | no | no

## Table A5
Table A5. Sensor servicing and cleaning (1) used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2)
SENSOR SERVICING AND CLEANING (1)
Group | Service interval | Do you bring a 'check sonde' in the field? | When do you compare your ‘check sonde’ to the in situ sonde – upon arrival, following cleaning, prior to exit? | Do you compare the ‘check sonde’ to the in situ sonde in a bucket or in the river/slough/Bay?
A | 2 weeks | Yes | Check sonde measurements recorded upon arrival, comparison with field sonde in the office when deployed sonde data is downloaded and processed. | in situ
B | 4-6 weeks | yes | upon arrival, following cleaning, prior to leaving | bucket
C | EXO2s: 3 weeks in summer, 4 in winter. 6 series: 2 weeks in summer, 3 in winter | yes | upon arrival | river/slough/Bay
D | cleaned every 3-4 weeks, fully serviced and calibrated every 6-8 weeks | Historically, no; recently yes | upon arrival | will be in bucket
E | 4 weeks | yes | all | all
F | 3 weeks | yes | all | all

## Table A6
Table A6. Sensor servicing and cleaning (2) used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2).
SENSOR SERVICING AND CLEANING (2)
Group | Field or Lab cal/checks? | Clean sensor instrument in Field or Lab? | Do you routinely swap sensors in the field? | Do you routinely swap sondes (with new sensors) in the field?
A | Lab | Lab | We typically do all maintenance, including sensor swap, in the lab. However, we occasionally swap sensors in the field when needed (e.g. replacement sonde is being repaired by YSI). | Yes, two Sondes are dedicated to the site.
B | Lab | Field clean as part of Wagner method, then lab clean | no | yes
C | Lab | Lab | EXO2: rarely; 6-series: No | yes
D | Swap sondes and sensors. Checks in the field and limit calibrations to the lab setting. | Basic cleaning in field, fully servicing in lab when hot-swapped. | historically, no; recently, yes | Yes
E | Chl-a every 6 months in lab (blank water cal check in field) | field | no | yes (sensors stay at site for ~6 months); other parameters see new sensors every site visit
F | Chl-a every 6 months in lab (blank water cal check in field) | field | no | no

## Table A7
Table A7. Sensor servicing and cleaning (3) used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2).
SENSOR SERVICING AND CLEANING (3)
Group | Deployment depth | Typical housing | Sonde retrieval needs for August 2018
A | varies | PVC | Stop logging, replace probe guard with cal cup (fill with 2 cm local water). Place sonde in protective bag and return to DWR.
B | 1 m from surface | 4” PVC housing bracketed to pile at fixed depth approx. 1m from bottom. 2.5” holes spaced 1 foot apart alternating 120° (pile locations) | Compare to "check” sonde at arrival, then pre-clean and post-clean compare in bucket.
C | 1 m from surface | 4" pipe; 3 sets of 2.25" diameter holes; 120 degrees, spaced 9" apart; offset by 3" | We’d like our sensors pulled and returned to us uncleaned, with a very small amount of water in the cal cup
D | Varies. Copper housing: 1 - 5m below surface. Steel cages on bottom: instruments ~0.5m off bottom | Vertical mooring with copper housing or stainless steel cage on bottom | Pre and post clean bucket checks, comparison with gold standard if available. An SFEI staff will be present to retrieve the sonde.
E | ~ 1 m depth at mean low water. Buoys and 5" PVC with holes (similar spacing as DWR) | 5" PVC with holes ~ 2" diameter | gold standard' check upon arrival (in-situ), in buket post-cleaning
F | deployment depth is 5 ft off bottom at 11455335; 1 ft off bottom at 11455136 + 11455142 (Leah will confirm) | 4" PVC, , random hole spacing ~1 inch diameter

## Table A8
Table A8. Data transmission and post-processing and data correction used by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2).
| DATA TRANSMISSION |  |  | POST-PROCESSING/DATA CORRECTION
Group | transmit data in near real-time to your database? | preserve internally logged data? | what is primary data? | What software to post-process data? | How do you identify outliers? | temp. corrections applied when post-processing data?
A | No | yes | internally logged data | Excel and SAS | review time series and manually remove | no
B | celluar | yes | logged data on SD card | In house developed Oracle database with graphical editing | review time series and manually remove | no
C | cellular | yes | internally logged | Macro-based excel tool/Hydstra | visual slope based only (slope > +/- 2) | no
D | no | yes | internally logged | KOR-EXO to convert bin files, custom python scripts for data formatting and QAQC | Remove outliers that fall three standard deviations outside of the mean of the surrounding 2 hours of data (one hour before and one hour after) | Only if large temperature errors in timeseries data. In that case we recalculate temperature dependent parameters based on the turbidity probe temperature.
E | cellular | yes, on server | telemetered | commercially available data management platform | thresholds and visual inspection (cal drift and foul check based on in situ/bucket test) | no
F | cellular | yes, on server | telemetered | commercially available data management platform | thresholds and visual inspection (cal drift and foul check based on in situ/bucket test) | no

## Table A9
Table A9. Data reporting by groups participating in the assessment of methods (Task 1) and the intercalibration exercises (Task 2).
Group | Do you have an optimal time frame for reporting post-processed fCHL data? | Does your post-processed data replace previously available data
A | Within a year | no
B | <2 weeks | No, only in internal database
C | <2 weeks | Not on CDEC, yes in Water Data Library
D | 1-2 weeks to enter into our internal system | No
E | 6 months to approve data; telemetered data is available in near-real time | Yes, 'worked' data replaces provisional data but we do not currently 'approve' the 'worked' data because we are awaiting the publication of a new techniques and methods report before approval.
F | 6 months to approve data; telemetered data is available in near-real time | Yes, 'worked' data replaces provisional data but we do not currently 'approve' the 'worked' data because we are awaiting the publication of a new techniques and methods report before approval.